Fire Detection       Electrical Maintenance & Testing       Gas Detection

Service Report

| Service Type | Fire Alarm Service |
| --- | --- |
| Client Name | Brothers Of Charity |
| Information | Carried out quarterly service of the fire alarm system. Tested break glass units, smoke detectors, heat detectors and sounders. All systems are fully operational and the panel was restored to normal upon completion of the service. |
| Date | 15-05-2024 |
| Travel Start Time | 09:15 |
| Travel End Time | 09:30 |
| On Site Time | 09:30 |
| On Site Finish Time | 10:15 |
| System Information |  |
| Site Name and Contact Details | Louise O'Connor |
| Panel(s) Make and Model | Gent |
| Detection Type, Make and Model | Smoke detectors, heat detectors and break glass units |
| Routine Service and Maintenance Details |  |
| System category for the area serviced, type YES after correct category | No category |
| Batteries tested | Yes |
| Load Test Meter Used | Yes |
| Battery age checked | Yes |
| Panel Checks |  |
| All functions checked including reset, mute, silence, etc. | Yes |
| All indicators checked including fire, fault, etc. | Yes |
| Field |  |
| Percentage of detection devices tested | 25 % |
| Sounders Checked | Yes |
| DB Meter Used | No |
| Ancillary Outputs | Yes |
| Visual inspection of area serviced for any structural change since last service | Yes |
| Site logbook updated on service completion | Yes |
| Is fire alarm system set up for remote monitoring | Yes |
| Additional Information |  |
| Has any equipment been supplied or installed during this visit | No |
| System left in normal working condition | Yes |
| Engineer Name | Paul O'Connor |
| Customer Name | Brothers of charity |

Eltech Electrical Services Ltd

Unit 5 Lee Park, Site Cast Industrial Estate, Pouladuff Rd, Cork, T12YP8N

Vat No.: 6437035J

Tel 021-4289802

Mob: 086-6075532

Email: info@eltech.ie

Web: www.eltech.ie